## Slide 1: Neutron Spin Rotation Measurements by the NSR Collaboration
DNP 2014 Hawaii October, 2014

## Slide 2: Neutron Spin Rotation (NSR) Collaboration
    W.M. Snow1, E. Anderson1, L. Barron-Palos2, C.D. Bass3, T.D. Bass3, B.E. Crawford4, C. Crawford5 , W. Fox1, J. Fry1, K. Gan6, C. Haddock1, B.R. Heckel7, D. Luo1, M. Maldonado-Velazquez2, R. Malone4, D. M. Markoff 8, A.M. Micherdzinska9, H.P. Mumm10, J.S. Nico10, A.K. Opper9, S. Penn 11, S. Santra12, M.G. Sarsour13, S. van Sciver14, E. I. Sharapov 15, H.E. Swanson 7 , S. B. Walbridge 1, H. Yan 1, and V. Zhumabekova 16
    Indiana University / CEEM 1
    Universidad Nacional Autonoma de Mexico 2
    Thomas Jefferson National Accelerator Facility 3
    Gettysburg College 4
    University of Kentucky 5
    University of Winnipeg 6
    University of Washington7
    North Carolina Central University 8
    The George Washington University 9
    National Institute of Standards and Technology 10
    Hobart and William Smith College 11
    Bhabha Atomic Research Centre 12
    Georgia State University 13
    Florida State University14
    Joint Institute for Nuclear Research 15
    Al-Farabi Kazakh National University 16
    Support: NSF, NIST, DOE, CONACYT, BARC

## Slide 3: N-N Weak Interaction
HWI mediated by W± and Zo but
short range (~0.01 fm) << size of nucleon (~1 fm)
…yet responsible for parity violating effects in
N-N interactions, nuclear decay, atomic structure, anapole moments
Weak/strong ~10-6
Use parity violation to isolate Weak contribution
strong ~1 fm
weak ~0.01 fm

## Slide 4: Meson Exchange
DDH model – exchange of 3 lightest mesons, leads to six coupling constants
fp , hr0 , hr1 , hr2 ,hw0 , hw1
Different experiments sensitive to different linear combinations
Weak NN force
~1/100 fm range
~1 fm
Strong NN force
N
N
N
N
PC
PV
p, r, w

## Slide 5: Parity Violating Spin Rotation
Acquired phase shift is a function of index of refraction
Index of refraction depends on forward scattering amplitude, which includes PNC term (polarized neutrons, unpolarized target)
Two helicity states acquire different phases  rotation angle.

## Slide 6: fPNC for Transversely Polarized Neutrons
Polarizer, P
z
y
x
Detector
Analyzer, A
_
+

## Slide 7
Expected Size:
Experimental challenges
  Reducing
  effectively canceling what is left
  controlling noise
  controlling other systematics

## Slide 8: Canceling fPC
Vertical field of “p-coil” reverses rotation angle
φBKG= dnφPC- upφPC~0
Detector sensitive to φBKG − φPNC
Output Coil /
Polarization
Analyzer
upφPC
−upφPC
dnφPC − upφPC
Supermirror
Polarizer
Target Chamber
(Upstream)
Target Chamber
(Downstream)
Pi-Coil
+ φPNC
− φPNC
− φPNC
Ion
Chamber
φBKG − φPNC
Neutron
Beam
chamber full
+ φ
− φ
B
side view
chamber empty

## Slide 9: Canceling fPC – Side-by-side experiments
φBKG= dnφPC- upφPC is insensitive to target location
Change target locations
Double subtraction isolates fPNC and reduces effects of reactor fluctuations
Output Coil /
Polarization
Analyzer
upφPC
−upφPC
dnφPC − upφPC
Supermirror
Polarizer
Target Chamber
(Upstream)
Target Chamber
(Downstream)
Pi-Coil
+ φPNC
− φPNC
− φPNC
Ion
Chamber
φBKG − φPNC
Neutron
Beam
chamber full
upφPC
−upφPC
dnφPC − upφPC
+ φPNC
chamber full
φBKG + φPNC
top view
chamber empty
chamber empty

## Slide 10
NIST Center for Neutron Research
Thermal neutrons
Reactor 20 MW (fission neutrons)
Moderation D2O
Cold neutrons
T=20K
Moderation LH

## Slide 11: Spin Rotation Apparatus
supermirror
analyzer
ion chamber
100microGauss 10microGauss in target region
float glass waveguides (m=0.68) super-mirror guides (m=2)
5cmX5cm NG6 10cmX10cm NGC
4.5E8/cm2/s NG6 2.5E9/cm2/s NGC
Be filter cuts spectrum <4Å to limit under rotation by pi-coil
supermirror
polarizer
room-temperature
magnetic shields
input coil
input guides
motion-control
system
output guide
output
coil
cryogenic
magnetic shield
cryostat
pi-coil
liquid helium targets
+y
+x
+z
Measures the horizontal component of neutron spin for a vertically-polarized beam

## Slide 12: Parity-Violation Results/Plans
2008 run on NG6
2015/16? Run on NGC rad/m

## Slide 13: 5th force Long-Range Interactions
Extensions to Standard Model suggest possibility of weakly interacting, light bosons
Spin and momentum dependent potentials for fermion-fermion interactions recently classified [Dobrescu, Mocioiu JHEP11(2006)005]
Parameter of interest is axial-axial coupling
v
r

## Slide 14: 2012 PSI results
Collimated 5Å neutron beam few mm from 0.48m long copper plate
Ramsey Method of separated oscillating fields
Vary separation distance
Extract limits on for different interaction lengths
M. Piegsa and Pignol , Phys. Rev. Lett. 108, 181801(2012)

## Slide 15: NSR Experiment
Use full 10cmX10cm beam
Vertical spin tips forward/backward
Sandwich high/low density materials  net rotation
Slab separation ~1mm
X
v
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X

## Slide 16
~100 mG
~2 G
~5 G
Bx
Application of a vertical B-field gradient causes output guide field to rotate by ±90° before reaching the vertical analyzer field.
supermirror
polarizer (45 cm)
magnetic shields
input coil
non-magnetic SM input guide (125 cm)
Segmented
3He ionization
chamber
non-magnetic SM output guide (200 cm)
supermirror polarization analyzer
(45 cm)
AFP spin
flipper
output coil
pi/2 turner
~5 G
NSR Neutron Polarimeter
(Side View)
By
Slide from IU PhD student, Chris Haddock
target (70 cm)

## Slide 17
At LANSCE: < 1 week 4x10-7rad/m
At NIST: < 1 week 1x10-7rad/m
MC simulation connecting experimental spin rotation sensitivity and physics sensitivity on gA compared to existing limits.
Neutron spin rotation apparatus is designed for a 10cm x 10cm beam.
Pulsed operation at LANSCE provides a useful handle on systematics since the effect is speed independent while the primary systematic depends on neutron speed.
Expected Sensitivity at LANSCE FP-12 and NIST

## Slide 18: Status
Supermirror Waveguides
  Testing (October 2014 at LENS)
Input/Output coils (construction beginning)
Supermirror polarizer and analyzer
  Testing (October 2014 at LENS)
Room temperature targets (design complete, construction starting winter 2014)
Pi-coil (design nearing completion)
RF Spin Flipper (built and tested)
Ion chamber
  Testing (October 2014 at LENS)
Liquid helium targets
  Cyrostat
  Target and He pump design/testing in progress
  Tested
Helium re-liquifier commissions with equivalent heat load
Data Acquisition - Minor Upgrade in progress

## Slide 19: Conclusions
The NSR collaboration set new limit on parity-violating spin rotation in the n-4He interaction of <9x10-7 rad/m
New apparatus on NGC beam of NCNR will achieve <2x10-7 rad/m to further constrain N-N weak couplings.
New apparatus on FP12 of LANSCE (Fall 2015) will reduce limits on axial-vector coupling, (gA)2, of exotic spin-1 light boson by 2—3 orders of magnitude.
Above results for gA in combination with recent limits on gV will further reduce limits on parity-violating coupling gAgV set by previous n-4He spin rotation measurements.
Upgraded apparatus nearing completion ready for
  Fall 2015 5th force experiment on FP12 at LANSCE
  2016 n-4He parity-violating experiment on NGC at NCNR

## Slide 22: Backup slides

## Slide 23
W
E
Large noise from beam intensity fluctuations is suppressed
Width of East-West difference of spin rotation angles is consistent with √N neutron counting statistics noise to ~10% accuracy
Reactor Noise Suppression

## Slide 24: Segmented 3He ionization chamber
3He and Ar gas mixture
Neutrons detected through n+3He → 3H+1H
High voltage and grounded charge-collecting plates produce a current proportional to the neutron flux
4 Detection Regions along beam axis - velocity separation (1/v absorption)
n
S.D.Penn et al. [NIM A457 332-37 (2001)]
charge collection plates are divided into 4 quadrants (3“ 7.5” diam) separated L/R and U/D beam

## Slide 26: Outline
Experiment 1: Parity-violating spin rotation  hadronic weak coupling constants
NSR apparatus
Controlling systematic errors
Experiment 2: Parity-conserving spin rotation  exotic long-range interactions
Status of upgrades/current run

## Slide 27: Systematic Effects
Simulations used to investigate small angle scattering and B-field gradients
Artificially enhanced B-fields and gradients used to experimentally place limits
Ion detector + pi-coil OFF data used to measure ambient magnetic field
Diamagnetism of LHe | ΔB/B ≈ 6E-8 | 2E-9 rad/m
Optical potential of LHe | ~ 10 neV | 3E-9 rad/m
Shift in neutron energy spectrum | Δ L ≈ 0.01 mm | 8E-9 rad/m
Small angle scattering |  | 2E-8 rad/m
Change in neutron paths due to refraction/reflection |  | 3E-10 rad/m
Polarimeter nonuniformity |  | 1E-8 rad/m
B amplification |  | < 4E-8 rad/m
B gradient amplification |  | < 3E-8 rad/m
PA/target nonuniformity |  | < 6E-8 rad/m
TOTAL estimated systematic effect |  | 1.4E-7 rad/m
Calculated
Measured
2008 on NG6

## Slide 28
Cold Neutron Guide hall at NCNR
n
Main measurement – 3 reactor cycles January – May 2008, Systematic studies – 1 reactor cycle June 2008.
NG-6 Polychromatic beam
58Ni guide qc=2.1 mrad/A (m=1.2)
Thermal neutrons
Reactor 20 MW (fission neutrons)
Moderation D2O
Cold neutrons
Moderation LH
T=20K
slide courtesy A. Micherdzinska

## Slide 29: Conclusions
In addition to helping constrain hadronic weak coupling constants, recent analysis demonstrates that the result also places the most stringent limit to date on new parity-odd long-range sub-eV interactions (WISPs) Phys. Rev. Lett. 110, 082003 (2013)
Upcoming experiment on new NGC beam at NIST promises to improve precision to the 2x10-7 rad/m level.

## Slide 34: Results
Artificially high magnetic field 10mG
  implies <4x10-8 rad/m systematic
Artificially high magnetic gradient +7mG to -7mG
implies <3x10-8 rad/m systematic

## Slide 35: Results
pi-coil ON runs measure φPNC
pi-coil OFF runs should be zero if no systematics

## Slide 36
NGC beam – larger area, higher flux, more divergent beam
~X20 increase in polarized slow neutron flux in spin rotation apparatus(!)
Spin rotation stat precision of <2E-7 rad/m in a 5 week cycle is possible
NIST Guide Hall Expansion Project
slide courtesy M. Snow

## Slide 38: Rotation Angle Asymmetry
Output coil rotates vertical spin by +90o or -90o (1 Hz)
Vertical super-mirror analyzer analyzes component due to rotation
input coil
input guides
output
coil
pi-coil
Polarizer
Analyzer

## Slide 39
Data sequence
slide courtesy A. Micherdzinska
n
P-coil (−, 0, +) state is repeated five times to form a 300-s target sequence.
The liquid helium is then drained and filled in the complementary state in 300–350 s, and the previous sequence is repeated to form a target cycle.
A spin rotation angle is determined from each pair of output coil states (+, −).
Reversing the π-coil current cancels any neutron spin rotations from stray fields outside the coil.

## Slide 40
Polarizing Super Mirror
Polarized beam
B
14 mrad
4.5cmX5.5cm
spin-dependent scattering from magnetized mirrors
Alternating layers of magnetic surface (cobalt) and absorptive layer (titanium and gadolinium); 1mm separation;
Placed in 300 G permanent box.
Typical polarization: 98%; transmission: 25%
unpolarized beam
slide courtesy A. Micherdzinska

## Slide 41: Target Chamber
pi-coil
Separate Left and Right chambers upstream and downstream of pi-coil
C.D. Bass NIM A 612 (2009) 69-82

## Slide 42
Before real measurement we need to understand beam and apparatus behavior – systematic check of beam and apparatus behavior
Beam intensity distribution as I(l) / chopper – TOF, ionisation chamber
n
A. Micherdzinska CUA, 03/02/2011

## Slide 43
Before real measurement we need to understand beam and apparatus behavior – systematic check of beam and apparatus behavior
Beam intensity distribution as I(x,y) / image plate
n
A. Micherdzinska CUA, 03/02/2011

## Slide 44
Before real measurement we need to understand beam and apparatus behavior – systematic check of beam and apparatus behavior
Polarization product (PA) as a f(l) /PSM, ASM, chopper – TOF
n
PA=(U-F)/(sU+F)
U- Unflip; F- flip
s – spin-flip efficiency (s=0.95 ± 0.05)
A. Micherdzinska CUA, 03/02/2011

## Slide 45
PA as a function of angle
n
CENTRAL position
For 5mm slit in the
-
0
+
ASM
Input coil
PA does not change with angle
A. Micherdzinska CUA, 03/02/2011

## Slide 46: Small-angle scattering
Upstream-downstream subtraction is incomplete
  Energy loss for scattered neutrons + different paths in target region
  (up stream scatters travel farther at lower energy)
  path length of scattered neutrons is different
  (up stream scatters spend longer time in target region)
  different detector solid angles from target positions
  (fewer scattered neutron reach detector from up target)
Target positions
Wave guides
detector

## Slide 47: Simulations
Monte-Carlo neutron transport
  Phase space of polarizing super mirror as input
  allow reflections from waveguides, scattering from Al windows, air gaps
  small angle scattering in liquid He target
  calculate PC rotation
  study effect of target position, alignment, B-field gradients, changes in energy and path length

## Slide 48: Systematic Effects
Diamagnetism of LHe | ΔB/B ≈ 6E-8 | 2E-9 rad/m
Optical potential of LHe | ~ 10 neV | 3E-9 rad/m
Shift in neutron energy spectrum | Δ L ≈ 0.01 mm | 8E-9 rad/m
Small angle scattering |  | 2E-8 rad/m
Change in neutron paths due to refraction/reflection |  | 3E-10 rad/m
Polarimeter nonuniformity |  | 1E-8 rad/m
B amplification |  | < 4E-8 rad/m
B gradient amplification |  | < 3E-8 rad/m
PA/target nonuniformity |  | < 6E-8 rad/m
TOTAL estimated systematic effect |  | 1.4E-7 rad/m
Calculated
Measured

## Slide 49: Small Angle Scattering in liquid 4He
cross section ~ Dynamic structure factor S(q,w)
for q<0.1 (1/Å), S(q,w) found from hydrodynamic properties of liquid
Measured s(E) used to determine if scattering takes place
Central peak from quasi-elastic scattering from diffusive motion of liquid
side peaks from single phonon scattering

## Slide 52
Haxton and Holstein, arXiv:1303.4132v2 [nucl-th] 21 Mar 2013